## Slide 1: An Elegant Solution for Safe Water on Tap
Monroe Weber-Shirk
Notes: Add intro to each unit process to help students think about projects

## Slide 2: Overview
How to Innovate and Design
The AguaClara Consortium
High-tech and Elegance
Pride of ownership
AguaClara technologies and plants
Philosophy and Reflections
Ctrl + click the pictures to go each section!

## Slide 3: Overview
How to Innovate and Design
The AguaClara Consortium
High-tech and Elegance
Pride of ownership
AguaClara technologies and plants
Philosophy and Reflections
Ctrl + click the pictures to go each section!

## Slide 4: Three ideas…
Evolution – Iteration – Mistakes - Learning
Water treatment is about the complex interactions between fluids, particles, and geometry (beyond rectangular tanks!)
Success requires understanding the details!
  Density currents caused by temperature change
  Flow distribution to reduce mean currents
  A roof to protect operators and the plant
Notes: Microbes are awesome particles!

## Slide 5: Inventing Perfection
“Furthermore, as the full scale plant is already in operation, the need for further design changes is not clear.” -(Anonymous Reviewer)
Ideas spring fully formed from their creator’s mind?
Athena leaped from Zeus's head, fully grown and armed
http://designserver.cee.cornell.edu/Designs
Notes: What about iteration and feedback?

## Slide 6: Overview
How to Innovate and Design
The AguaClara Consortium
High-tech and Elegance
Pride of ownership
AguaClara technologies and plants
Philosophy and Reflections
Ctrl + click the pictures to go each section!

## Slide 7: AguaClara Consortium
Finance
Implement
R&D
Transfer
Operate
Market
Municipalities
Municipalities
Water Boards
Implementers
Implementers

## Slide 8: Overview
How to Innovate and Design
The AguaClara Consortium
High-tech and Elegance
Pride of ownership
AguaClara technologies and plants
Philosophy and Reflections
Ctrl + click the pictures to go each section!

## Slide 9: Simple, Elegant, or Complicated?
“Any intelligent fool can make things bigger, more complex, and more violent. It takes a touch of genius — and a lot of courage – to move in the opposite direction.” --- E.F. Schumacher
“Simplicity is the ultimate sophistication.” --- Leonardo da Vinci

## Slide 10: Elegant Solution
Solves the problem very well
No unnecessary complexity
Easy to understand
Simple and beautiful
  Bicycle
  Windmills
Context matters in defining elegant!

## Slide 11: Overview
How to Innovate and Design
The AguaClara Consortium
High-tech and Elegance
Pride of ownership
AguaClara technologies and plants
Philosophy and Reflections
Ctrl + click the pictures to go each section!

## Slide 12: Pride of Ownership
What happens when the check engine light goes on in your car?
What do you do if your bicycle brakes need to be adjusted?
What does the plant operator do if the chemical feed stops working?
We want the plant operator to diagnose and fix the problem without needing to call anyone.

## Slide 13: Overview
How to Innovate and Design
The AguaClara Consortium
High-tech and Elegance
Pride of ownership
AguaClara technologies and plants
Philosophy and Reflections
Ctrl + click the pictures to go each section!

## Slide 14: AguaClara Technologies
Chemical dosing
Flocculator
Floc Blanket
Sedimentation
Filtration
Conclusions

## Slide 15: Stages of particle removal
Filtration
Sedimentation
Flocculation
Coagulation
Nanoparticle deposition
Collisions
Gravity!
Floc Blanket
Notes: Here are the five stages of colloid or particle removal in hydraulic drinking water treatment plants. The first stage, coagulation, involves the addition of a chemical coagulant to destabilize a suspension of particles. The coagulant precipitates and attaches to the particle surface. Then in flocculation, velocity gradients in the water cause the particles (now coated in precipitated coagulant) to collide and stick to one another forming aggregates. In floc blankets there are many more opportunities for collisions. In sedimentation, fluid flow is very slow and the aggregates settle to the bottom of the tank. Filtration is often used to remove any remaining particles but is not included in the bench-scale setup.

## Slide 16
Flocculator
Chemical Stock Tanks
Chemical Dosing
Entrance Tank
Sedimentation
Open Stacked Rapid Sand (OStaRS) Filter
Drain Channel

## Slide 17: Tour of an AguaClara plant

## Slide 18: Plant zero
Elevated flocculator
Entrance Tank
Sedimentation Tank

## Slide 20
What do you see?
Why did this happen?

## Slide 21: San Nicolas

## Slide 23: Flocculator Channels

## Slide 25: What do you see?

## Slide 26: What is the difference between laser level and water level?
Suppose I am building a really big structure…

## Slide 40
Sed tank drains!
Backwash water!
Filter Pipe Gallary
2 Filters
Sludge drains!

## Slide 41
Filter
Filter Inlet
Filter Outlet
Sed tank
Inlet and outlet channels
Sed tanks

## Slide 42
Filters
Filter Inlet
Filter Outlet

## Slide 43
Backwash siphon
Backwash siphon

## Slide 47
Flocculated water
entering the sedimentation tank
Settled water

## Slide 48: Overview
How to Innovate and Design
The AguaClara Consortium
High-tech and Elegance
Pride of ownership
AguaClara technologies and plants
Philosophy and Reflections
Ctrl + click the pictures to go each section!

## Slide 49: Three Key Ideas
AguaClara is open source engineering:
  Many inventions, ZERO patents
  Our technologies are described on our website and published in the literature.
  Our example designs are available on the web!
Our technologies use ZERO electricity (except for batteries in the turbidimeters)
Our innovation is based on feedback and ongoing connections with plant operators

## Slide 50: Resilience
We sometimes make the mistake of designing for steady state and forgetting about startup (NYC blackout in 1977
The USA has had stability for decades
  Climate change is changing that
  A breakdown in global trade could block replacement parts
Water supply is critical infrastructure and should be designed for resilience and rapid recovery after a disaster

## Slide 51: How Much Does it Cost?
Implementation COST
$100,000 + $8000 per L/s of capacity*
OPERATING COST
$5 per person per year
or $50 per million liters
ELECTRICITY COST
ZERO
*Quick and rough cost estimates.
Notes: Quick and rough cost estimates.

## Slide 52: Reflections
Technology and Engineering Philosophy matter!
Infrastructure failures are linked to design choices
We design for Simplicity on the other side of Complexity