## Slide 1: An Elegant Solution for Safe Water on Tap
Monroe Weber-Shirk
Notes: Add intro to each unit process to help students think about projects

## Slide 2: Overview
How to Innovate and Design
The AguaClara Consortium
High-tech and Elegance
Pride of ownership
AguaClara technologies and plants
Philosophy and Reflections
Ctrl + click the pictures to go each section!

## Slide 3: AguaClara Technologies
Chemical dosing
Flocculator
Floc Blanket
Sedimentation
Filtration
Conclusions

## Slide 4: Stages of particle removal
Filtration
Sedimentation
Flocculation
Coagulation
Nanoparticle deposition
Collisions
Gravity!
Floc Blanket
Notes: Here are the five stages of colloid or particle removal in hydraulic drinking water treatment plants. The first stage, coagulation, involves the addition of a chemical coagulant to destabilize a suspension of particles. The coagulant precipitates and attaches to the particle surface. Then in flocculation, velocity gradients in the water cause the particles (now coated in precipitated coagulant) to collide and stick to one another forming aggregates. In floc blankets there are many more opportunities for collisions. In sedimentation, fluid flow is very slow and the aggregates settle to the bottom of the tank. Filtration is often used to remove any remaining particles but is not included in the bench-scale setup.

## Slide 5
Flocculator
Chemical Stock Tanks
Chemical Dosing
Entrance Tank
Sedimentation
Open Stacked Rapid Sand (OStaRS) Filter
Drain Channel

## Slide 6: Tour of an AguaClara plant

## Slide 7: Plant zero
Elevated flocculator
Entrance Tank
Sedimentation Tank

## Slide 9
What do you see?
Why did this happen?

## Slide 10: San Nicolas

## Slide 12: Flocculator Channels

## Slide 14: What do you see?

## Slide 15: What is the difference between laser level and water level?
Suppose I am building a really big structure…

## Slide 29
Sed tank drains!
Backwash water!
Filter Pipe Gallary
2 Filters
Sludge drains!

## Slide 30
Filter
Filter Inlet
Filter Outlet
Sed tank
Inlet and outlet channels
Sed tanks

## Slide 31
Filters
Filter Inlet
Filter Outlet

## Slide 32
Backwash siphon
Backwash siphon

## Slide 36
Flocculated water
entering the sedimentation tank
Settled water

## Slide 37: Stages of particle removal
Filtration
Sedimentation
Flocculation
Coagulation
Nanoparticle deposition
Collisions
Gravity!
Floc Blanket
Notes: Here are the five stages of colloid or particle removal in hydraulic drinking water treatment plants. The first stage, coagulation, involves the addition of a chemical coagulant to destabilize a suspension of particles. The coagulant precipitates and attaches to the particle surface. Then in flocculation, velocity gradients in the water cause the particles (now coated in precipitated coagulant) to collide and stick to one another forming aggregates. In floc blankets there are many more opportunities for collisions. In sedimentation, fluid flow is very slow and the aggregates settle to the bottom of the tank. Filtration is often used to remove any remaining particles but is not included in the bench-scale setup.