## Slide 1: Selected design project
Residuals
Entrance tank
480 L/s plant layout
100+ L/s sedimentation tank
CDC for flows above 100 L/s.

## Slide 2: Review of Priority Design Work
New design for Entrance Tank (High Priority)
  Current design has velocities that are too high
  Grit is carried into the flocculator
  Also need larger trash rack
Residuals Management
  Obtain regulations from Honduras and Colombia
  Review alternatives, choose the best ones, design

## Slide 3: Project selection
MESh
TheFlocs
hydro homies
Lily Pads
Phoenix Flocs